ELECTRICAL MACHINES

Tutorial questions

Unit –I

- Define Armature reaction and commutation and mention its importance

- Explain the working principle of DC generator and motor

- What are the various applications of DC machines

- Explain the constructional features of DC machine

- Derive the equation for EMF induced in Generator and also explain EMF generated in separately excited DC generator

- Draw and explai9n the characteristics of DC shunt, series and compound machines

- Explain the speed control techniques of DC motors

- With the help of neat sketch explain Swinburne’s test and Hopkinson’s test on DC motor

- Derive the torque expression for DC motor and also explain the characteristics of DC motor

UNIT –II

- Explain the working principle of single phase transformer

- Draw the phasor diagram of ideal transformer

- What is instrument transformer

- What is the purpose of transformer oil

- Derive the EMF expression for single phase transformer

- Explain the constructional details of single phase transformer

- Draw the equivalent circuit of single phase transformer referred to primary and secondary

- Explain O.C and S.C tests in detail

- Write a short note on Auto Transformer

UNIT-III

- Explain the working principle of three phase induction motor

- Define slip and its importance

- What are the different types of induction motors explain

- Explain the power flow diagram of three phase induction motor derive expression for efficiency

- Explain torque-slip, torque-speed characteristics

- How rotating magnetic field is produced in three phase induction motor

- Explain in detail No-load test and blocked rotor test

- Derive the condition for max torque under starting and running conditions

- Draw the equivalent circuit of induction motor(three phase)
                                      UNIT-IV ,UNITV

1) Derive the EMF equation of Alternator

2) Explain about synchronous impedance method and voltage regulation of alternator

3) Why the synchronous motor is not self starting and explain the methods to start it

4) Draw and explain V and inverted V curves

UNIT-VI

- Briefly discuss about working of stepper motor

- Explain the working of universal motor and write its application

- Explain double field revolving theory

- Explain the starting methods of single phase induction motor