EEE 3101 – POWER SYSTEM-I

COURSE OUTCOMES

| CO No. | COURSE OUTCOMES |
| --- | --- |
| COEEE 3101. 1 | Explain the Importance, selection of site, Line diagram, Components, merits and drawback of Power Plants. |
| COEEE 3101.2 | Differentiate (or analyse) the relative performance and use of Renewable and Non-Renewable Power plants and components. |
| COEEE 3101.3 | Select and apply proper operational aspects and economic consideration of generation stations. |

At the end of the course a student will be able to:

LESSON PLAN

Total number of periods: 67

Instruction delivery tools: Black board, power point, videos

| Unit | Unit-1 | Unit-2 | Unit-3 | Unit-4 | Review etc. | Total |
| --- | --- | --- | --- | --- | --- | --- |
| Hours | 25 | 21 | 09 | 07 | 05 | 67 |

| TOPICS | TEXT BOOK | NO. OF PERIODS | COs | POs |
| --- | --- | --- | --- | --- |
| UNIT 1: Introduction,Thermal,Hydro,Nuclear,Gas & Diesel Power Plants (25 periods) |
| 1-1- Introduction: Power Generation, Comparison of different Sources of Energy. | T1(6-9) | 1 | COEEE3101.1 COEEE3101.2 | a,f,g,h,k,m |
| 1-2 Thermal Power Stations: Line Diagram and Location. | T1(13-18) | 1 | COEEE3101.1 | a,f,k,m |
| Coal Handling plant. | T1(19-20) | 1 | COEEE3101.1 | a,f,k,m |
| Draught. | T1(22-23) | 1 | COEEE3101.1 | a,f,k,m |
| Condensers. | T1(17) | 1 | COEEE3101.1 | a,f,k,m |
| Cooling Water Systems. | T1(21) | 1 | COEEE3101.1 | a,f,k,m |
| 1-3- Hydro Electric Plants: Introduction. | T1(27) | 1 | COEEE3101.1 | a,f,k,m |
| Choice of Site. | T1(28) | 1 | COEEE3101.1 | a,f,k,m |
| Classification of Hydro Electric Plants. | T1(29) | 1 | COEEE3101.2 | a,g,h,m |
| Hydrology. | T1(28-29) | 1 | COEEE3101.1 | a,f,k,m |
| General Arrangement and operation of a Hydro-Electric Plant. | T1(32) | 1 | COEEE3101.1 | a,f,k,m |
| Functions of Different Components of A Hydro Plant. | T1(32-34) | 1 | COEEE3101.1 | a,f,k,m |
| 1-4-Nuclear Power Plants: Introduction. | T1(43) | 1 | COEEE3101.1 | a,f,k,m |
| Schematic Arrangement. | T2(107) | 1 | COEEE3101.1 | a,f,k,m |
| Components of Nuclear Reactors. | T1(47-48) | 1 | COEEE3101.1 | a,f,k,m |
| Classification of Reactors. | T1(49) | 1 | COEEE3101.2 | a,g,h,m |
| Different Power Reactors. | T1(49-53) | 1 | COEEE3101.2 | a,g,h,m |
| Different Power Reactors Explanation. | T1(53) | 1 | COEEE3101.2 | a,g,h,m |
| 1-5- Gas Turbine Plants: Layout. | T1(67) | 1 | COEEE3101.1 | a,f,k,m |
| Components of A Gas Turbine Plant. | T1(66) | 1 | COEEE3101.1 | a,f,k,m |
| Open Cycle Plant. | T1(66) | 1 | COEEE3101.1 | a,f,k,m |
| Closed Cycle Plant. | T1(66) | 1 | COEEE3101.1 | a,f,k,m |
| 1-6- Diesel Power Plant: Working Principle, Site Selection. | T1(55) | 1 | COEEE3101.1 | a,f,k,m |
| Plant Layout. | T1(61) | 1 | COEEE3101.1 | a,f,k,m |
| Components, Merits and Demerits. | T1(61) | 1 | COEEE3101.1 | a,f,k,m |
| UNIT 2: Solar,wind,Tidal & Bio-Mass Power Plants (21 periods) |
| 2-1- Solar Power Plant: Importance. | T2(157) | 1 | COEEE3101.1 | a,f,k,m |
| Working Principle. | T2(157-158) | 1 | COEEE3101.1 | a,f,k,m |
| Site Selection. | T2(158) | 1 | COEEE3101.1 | a,f,k,m |
| Plant Layout. | T2(160) | 1 | COEEE3101.1 | a,f,k,m |
| Components. | T2(160) | 1 | COEEE3101.1 | a,f,k,m |
| Merits and Demerits. | T2(161) | 1 | COEEE3101.1 | a,f,k,m |
| 2-2- Wind Mill Power Plant: Importance. | T2(161) | 1 | COEEE3101.1 | a,f,k,m |
| Working Principle. | T2(161) | 1 | COEEE3101.1 | a,f,k,m |
| Site Selection. | T2(162),W1 | 1 | COEEE3101.1 | a,f,k,m |
| Types. | T2 (163) | 1 | COEEE3101.2 | a,g,h,m |
| Components, Merits and Demerits. | T2 (163-164) | 1 | COEEE3101.1 | a,f,k,m |
| 2-3- Tidal Power Plant: Importance, Working Principle. | T2 (164) | 1 | COEEE3101.1 | a,f,k,m |
| Site Selection. | T2 (165) | 1 | COEEE3101.1 | a,f,k,m |
| Types. | T2 (164) | 1 | COEEE3101.2 | a,g,h,m |
| Components. | T2 (165) | 1 | COEEE3101.1 | a,f,k,m |
| Merits and Demerits. | T2 (166) | 1 | COEEE3101.1 | a,f,k,m |
| 2-4- Bio-Mass Power Plant: Importance, Working Principle. | W2 | 1 | COEEE3101.1 | a,f,k,m |
| Site Selection. | W3 | 1 | COEEE3101.1 | a,f,k,m |
| Types. | W4 | 1 | COEEE3101.2 | a,g,h,m |
| Components. | W5 | 1 | COEEE3101.1 | a,f,k,m |
| Merits and Demerits. | W6 | 1 | COEEE3101.1 | a,f,k,m |
| Unit-3:Fuel Cells & MHD Power Generation(09 Periods) |
| 3-1- Fuel Cells: Importance, Working Principle. | T2(154) | 1 | COEEE3101.1 | a,f,k,m |
| Types. | T2(157) | 1 | COEEE3101.2 | a,g,h,m |
| Components, Merits and Demerits. | T2(158) | 1 | COEEE3101.1 | a,f,k,m |
| 3-2- Magneto Hydro Dynamic (MHD) Power Generation: Basic Concepts. | T3(201) | 1 | COEEE3101.1 | a,f,k,m |
| Principle of operation. | T3(202) | 1 | COEEE3101.1 | a,f,k,m |
| Classification. | T3(208) | 1 | COEEE3101.2 | a,g,h,m |
| Coal Burning MHD Steam Power Plant. | T3(209) | 1 | COEEE3101.1 | a,f,k,m |
| Gas Cooled Nuclear MHD Power. | T3(212) | 1 | COEEE3101.1 | a,f,k,m |
| Liquid Metal MHD Generator. | T3(214) | 1 | COEEE3101.1 | a,f,k,m |
| UNIT 4: Operation Aspects of Generation Stations & Economic Considerations (07 periods) |
| 4-1-Operational Aspects of Generating Stations: Load Curves. | T3(218) | 1 | COEEE3101.3 | a,b,k |
| Associated Definitions. | T3(219-226) | 1 | COEEE3101.3 | a,b,k |
| Selection of Units, Load Duration Curves. | T3(226-227) | 1 | COEEE3101.3 | a,b,k |
| 4-2-Economic Considerations: Capital Costs of Generating Stations. | T3(236) | 1 | COEEE3101.3 | a,b,k |
| Running Costs of Generating Stations. | T3(237) | 1 | COEEE3101.3 | a,b,k |
| Different Tariffs. | T3(242) | 1 | COEEE3101.3 | a,b,k |
| Comparison of Costs. | T3(243) | 1 | COEEE3101.3 | a,b,k |
| University questions / review /content beyond syllabus (7 periods) | -- | 7 | COEEE3101.1 COEEE3101.2 COEEE3101.3 | a,b,f,g,h,k,m |

Text books:

T1  A Text Book on Power System Engineering by Soni, Gupta, Bhatnagar & Chakrabarti, Dhanpat rai &

Co.

T2  A course in Power Systems by J.B.Gupta, Katson Books

T3 Electrical Power by S. L. Uppal, Khanna Publishers

Web links:

W1 http://www.windpowerengineering.com/construction/projects/guidelines-selecting-sites/

W2 http://projects.getit.de/rwevirtuellekraftwerke/info=functionality/867166

W3 http://www.big-east.eu/bigeast_reports/WP6_Site_Selection_Strategy_final_20080404.pdf

W4 http://www.need.org/Files/curriculum/Energy%20At%20A%20Glance/BiomassAtAGlance_11x17.pdf

W5   https://teeic.indianaffairs.gov/er/biomass/restech/desc/biomassplants/index.htm

W6  http://www.conserve-energy-future.com/advantages_disadvantages_biomassenergy.php